## DES Points for LEED
LEED Points for PEER DES
DES Performance |  | Input |  | Legend
DES Performance Improvement Above Benchmark | SEE | 23% |  | User Input - from PEER results
| SEI | 23% |  | User input - from LEED energy model
| AEI | 74.3% |  | User input
DES Performance Weightings | SEE | 20% |  | Calculated value (do not edit)
| SEI | 45% |  | Fixed value (do not edit)
| AEI | 35%
Weighted DES performance above benchmark |  | 40.96%
Max points available in EA Credit: Optimize Energy Performance |  | 18
Max points from PEER DES |  | 15.4775
ASHRAE 90.1-2010 Performance | Baseline | Proposed
Total Cost | 59142 | 53001
PEER-certified CHW Cost | 26920 | 24213
% of total | 45.52% | 45.68%
PEER-certified HHW Cost | 0 | 0
% of total | 0% | 0%
PEER-certified Steam Cost | 1381 | 929
% of total | 2.335% | 1.753%
PEER-certified Elec Generation Cost | 30841 | 27859
(same rate as non-PEER electric) | 52.15% | 52.56%
Total Purchased Energy Cost | 59142 | 53001
% of total | 100% | 100%
LEED Points for PEER Certified DES Performance |  | Results | BD+C
LEED Cost Percent Improvement |  | 10.38%
DES % Contribution |  | 100%
LEED BD+C Points achieved without DES Point Contribution |  | 3
LEED Points from DES - PEER certified |  | 15
LEED Points from DES - PEER score |  | 7
Is DES PEER certified? |  | Yes
Total LEED Points (points from PEER + LEED) |  | 18

## LEEDv4 Points
NC | CS | IDC | NC | HC | NC | IDC |  | HomesMR
New Buildings (except MR) | CS | BD&C Existing Building Renovations (except MF MR) / ID&C | Points (except schools, Healthcare) | Points (Healthcare) | Points (Schools) | Points (ID&C) | Multifamily Midrise | Points (Multifamily Midrise)
4.99% | 2% | 3% | Prerequisite | Prerequisite | Prerequisite | Prerequisite | 5% | Prerequisite
5.99% | 3% | 4% | 1 | 3 | 1 | 4 | 6% | 1
|  | 5% |  |  |  | 6
7.99% | 5% | 6% | 2 | 4 | 2 | 8 | 8% | 3
|  | 7% |  |  |  | 10
9.99% | 7% | 8% | 3 | 5 | 3 | 11 | 10% | 5
|  | 9% |  |  |  | 12
11.99% | 9% | 10% | 4 | 6 | 4 | 13 | 12% | 7
|  | 11% |  |  |  | 14
13.99% | 11% | 12% | 5 | 7 | 5 | 15 | 14% | 9
|  | 13% |  |  |  | 16
15.99% | 13% | 14% | 6 | 8 | 6 | 17 | 16% | 11
|  | 15% |  |  |  | 18
17.99% | 15% | 16% | 7 | 9 | 7 | 19 | 18% | 13
20
19.99% | 17% | 18% | 8 | 10 | 8 | 21 | 20% | 15
21.99% | 19% | 20% | 9 | 11 | 9 | 22 | 22% | 16
23.99% | 21% | 22% | 10 | 12 | 10 | 23 | 26% | 18
25.9% | 23% | 24% | 11 | 13 | 11 | 24 | 30% | 20
28.99% | 25% | 26% | 12 | 14 | 12 |  | 33% | 21
31.99% | 27% | 28% | 13 | 15 | 13 | 25 | 36% | 22
34.99% | 29% | 30% | 14 | 16 | 14 |  | 42% | 24
37.99% | 31% | 32% | 15 | 17 | 15 |  | 48% | 26
41.99% | 33% | 34% | 16 | 18 | 16 |  | 54% | 28
45.99% |  | 36% | 17 | 19 |  |  | 60% | 30
49.99% |  | 38% | 18 | 20

## Example Calculation
LEED Points for PEER DES
DES Performance |  | Input |  | Legend
DES Performance Improvement Above Benchmark | SEE | 14.2% |  | User Input - from PEER results
| SEI | 16.6% |  | User input - from LEED energy model
| AEI | 72.9% |  | User input
DES Performance Weightings | SEE | 20% |  | Calculated value (do not edit)
| SEI | 45% |  | Fixed value (do not edit)
| AEI | 35%
Weighted DES performance above benchmark |  | 35.82%
Max points available in EA Credit: Optimize Energy Performance |  | 18
Max points from PEER DES |  | 12.9125
ASHRAE 90.1-2010 Performance | Baseline | Proposed
Total Cost | 101885.75 | 85337.81
PEER-certified CHW Cost | 28252 | 24829.33
% of total | 27.73% | 29.1%
PEER-certified HHW Cost
% of total | 0% | 0%
PEER-certified Steam Cost | 8603.75 | 3064.22
% of total | 8.445% | 3.591%
PEER-certified Elec Generation Cost | 36855.75 | 27893.55
(same rate as non-PEER electric) | 36.17% | 32.69%
Total Purchased Energy Cost | 73711.5 | 55787.1
% of total | 72.35% | 65.37%
LEED Points for PEER Certified DES Performance |  | Results | BD+C
LEED Cost Percent Improvement |  | 16.24%
DES % Contribution |  | 65.37%
LEED BD+C Points achieved without DES Point Contribution |  | 6
LEED Points from DES - PEER certified |  | 8
LEED Points from DES - PEER score |  | 4
Is DES PEER certified? |  | No
Total LEED Points (points from PEER + LEED) |  | 10